**DEPARTMENT OF PHYSIOLOGY & BIOCHEMISTRY**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S. No. | | | Items | Available | | | |
|  | **Physiology** | | |  | | |
| 1 | Medical Microscope | | | 25 | | |
| 2 | Equipment for ESR estimation/ Westergren’s pipette for ESR on stand | | | 25 | | |
| 3 | Haematocrit tubes | | | 40 | | |
| 4 | Auto Analyzer or Semi Auto Aalyzer | | | 01 | | |
| 5 | Haemoglobinometer SahiL | | | 25 | | |
| 6 | Haemocytometer | | | 25 | | |
| 7 | Sphygmomanometer | | | 25 | | |
| 8 | | Stethoscope | | 25 | |
| 9 | | Clinical thermometer (Digital) | | 25 | |
| 10 | | Knee hammer | | 25 | |
| 11 | | Tuning forks to test hearing (32-10000 hzs) | | 01 | |
| 12 | | Stethographs or pneumographs | | 05 | |
| 13 | | Electrocardiograph (ECG Machine) | | 02 | |
| 14 | | Electronic Stop Watches 1/10 sec. | | 10 | |
| 15 | | Glass Distillation (double) apparatus | | 01 | |
| 16 | | Centrifuge (Medium speed) | | 02 | |
| 17 | | Colorimeter (photo electric) | | 02 | |
| 18 | | pH Meter electric | | 02 | |
| 19 | | Colour perception lantern (Edridge Green) | | 02 | |
| 20 | | Incubator | | 02 | |
| 21 | | Educational CD | | 04 | |
| DVD | | 02 | |
| Films | | 03 | |
| Slides | | 70 | |
| Models | | 20 | |
| Audio Visual Aids | | 01 Set | |
| 22 | | Perimeter | | 03 | |
| 23 | | Spirometer | | 01 | |
| 24 | | Tonometer | | 01 | |
| 25 | | Handgrip dynamometer | | 01 | |
| 26 | | Bicycle Ergometer | | 01 | |
| Number of additional items available | | | | 10 |
| **Biochemistry** | | | | |
| 1 | | Electronic/Monopan Balance | | 01 | |
| 2 | | Centrifuge | | 02 | |
| 3 | | Balance, chemical/ordinary | | 02 | |
| 4 | | Water baths | | 03 | |
| 5 | | Urinometer | | 25 | |
| 6 | | Hydrometer (0.700 to 1.00) | | 02 | |
| 7 | | Albuminometers | | 02 | |
| 8 | | Glucometer | | 10 | |
| 9 | | Thermometer | | 12 | |
| 10 | | Colorimeter | | 03 | |
| 11 | | Hot air oven 14”x14”X14” (Electric) | | 02 | |
| 12 | | Double Distillation apparatus Glass | | 01 | |
| 13 | | Centrifuge, medium speed, electric | | 02 | |
| 14 | | Glass ware like | | 01 | |
|  | | Pipette, | | 60 | |
| 15 | | Beakers, | | 120 | |
| Burettes, | | 60 | |
| Wire gouge with asbestos, | | 50 | |
| Centre hot plate | | 01 | |
| Stove | | 01 | |
| Syringe | | 02 | |
| Burners | | 04 Boxes Each Size | |
| Rubber tubing | | 3 | |
| Stands clamps | | 12 | |
| Flash etc. | | 50 | |
| pH meter | | 01 | |
| Total number of Charts | | | | 45 | |