**DEPARTMENT OF ANATOMY**

|  |  |  |  |
| --- | --- | --- | --- |
| S. No. | | Items | Available |
| 1 | 1 | Dissection Tables with marble tops or stainless steel (6’X’1’X2’X3’) | 08 |
| 2 | Dissection set complete | 08 |
| 3 | Saw for sectioning body and limbs | 04 |
| 4 | Storage tanks to hold cadavers | 06 |
| 5 | Stools, Preferable metal | 30 |
| 6 | Wash basin (for student) | 02 |
| 7 | Machine for Sectioning bone and brain | 01 |
| 8 | Over head Projector | 01 |
| 9 | 35 mm Slide projctor | 01 |
| 10 | Tank Storage G.I or Zink for storing soft parts | 02 |
| 11 | Rubber glaves size | 2Box |
| 12 | Rubber teats No. 5 | 12 |
| 13 | Wooden blocks of different size | 10 |
| 14 | Razor Home & Strap | 02 |
| 15 | Plastic in different Colour | 04 |
| 16 | X-ray viewing boxes or panel | 02 |
| 17 | Microscope student type | 40 |
| 18 | Microscope (Research and Binocular) | 01 |
| 19 | Demonstration eyepieces | 05 |
| 20 | Double Demonstration eyepieces | 02 |
| 21 | Dissecting Microscope | 02 |
| 22 | Micrometer Ocular | 01 |
| 23 | Micrometer Stage | 01 |
| 24 | Microscope Slide and Coverslip etc | 02 |
| 25 | Cabinet for Slide (1000) | 01 |
| 26 | Microscope lamps | 03 |
| 27 | Incubator | 01 |
| 28 | Parafin embedding bath | 01 |
| 29 | Microstone (rotary with extrablade) | 01 |
| 30 | L. block | 03 |
| 31 | Hot plate for flattening section | 02 |
| 32 | Oven | 01 |
| 33 | Balance analytical capacity 200gm. Sensitivity 1/10gms | 01 |
| 34 | Stock of paraffin blocks | 02 |
| 35 | Distilled water stillmanesty tupy capacity gallon per hour | 01 |
| 36 | Stereoscope view- box | 01 |
| 37 | Microscope phase contrast | 01 |
| 38 | Microscope polarizing | 01 |
| 39 | Camera lucida | 01 |
| 40 | Microtome sledge, large secetion cutting | 01 |
| 41 | Microtome ,carbondioxide freezing cryosyat | 01 |
| 42 | Microscope with 3 objective&mechanical stage | 01 |
| 43 | Trolley tables | 02 |
| 44 | Microscope stereoscopic | 01 |
| 45 | Co2, Cylinder large capacity | 01 |
| 46 | Paraffin bath vacuum embedding | 01 |
| 47 | Table with marbel top or, stainless steel double standard size | 01 |
| 48 | Mortuary cooler with arrangement to keep 3-5 bodies | 01 |
| 49 | Staining racks with drop bottle for reagent and stains staining thought | 15 |
| 50 | Teaching Materials | Available |
| Models | 28 |
| Charts, | 30 |
| Diagram, | 12 |
| Slides | 142 |
| Soft Part Wet | 10 |
| Soft Part Dry | 15 |
| Skeleton (Articulated) | 04 |
| Bones (Loose) | 646 |
| Mummified bodies | 02 |
| Latest diagrams | 10 |
| 51 | Microscope (Medical) | 25 |